AUTOLENSOMETER

(Below both the pics):-

A lensmeter or lensometer, also known as a focimeter[1], is an ophthalmic instrument. It is mainly used by optometrists and opticians to verify the correct prescription in a pair of eyeglasses, to properly orient and mark uncut lenses, and to confirm the correct mounting of lenses in spectacle frames. Lensometers can also verify the power of contact lenses, if a special lens support is used.

The parameters appraised by a lensmeter are the values specified by an ophthalmologist or optometrist on the patient's prescription: sphere, cylinder, axis, add, and in some cases, prism. The lensmeter is also used to check the accuracy of progressive lenses, and is often capable of marking the lens center and various other measurements critical to proper performance of the lens. It may also be used prior to an eye examination to obtain the last prescription the patient was given, in order to expedite the subsequent examination.

At “DIVYADRASHTI”, we have both Auto & Manual Lensometers.

AUTOREFRACTOMETER:-

An Autorefractor or automated refractor is a computer-controlled machine used during an eye examination to provide an objective measurement of a person's refractive error and prescription for glasses or contact lenses. This is achieved by measuring how light is changed as it enters a person's eye.

The automated refraction technique is quick, simple and painless. After application of a cycloplegic agent to keep the ciliary muscle in relaxed position and avoid the erroneous diagnosis of a pseudomyopia, the patient takes a seat and places their chin on a rest. One eye at a time, they look into the machine at a picture inside. The picture moves in and out of focus as the machine takes readings to determine when the image is on the retina. Several readings are taken which the machine averages to form a prescription. No feedback is required from the patient during this process.

Within seconds an approximate measurement of a person's prescription can be made by the machine and printed out or shared electronically with an Automated Refraction System.

In some offices this is used to provide the starting point for the optometrist in subjective refraction tests. Here, lenses are switched in and out of a phoropter and the patient is asked "which looks better" while looking at a chart. This feedback refines the prescription to one which provides the patient with the best vision.

Automated refraction is particularly useful when dealing with non-communicative people such as young children or those with disabilities.